EHS变更管理制度

EHS Change Management System

内部使用

在使用前，请和文档编写人员确认本文档为最新版本。

未经上海暻熠数据科技有限公司、上海暻耀网络技术有限公司书面许可，其它任何机构或个人不可传阅、引用或复制本文件的内容。

Internal use

Before using, check with the documentation writer to make sure this document is the latest version.

Without the written permission of Shanghai Jingyi Data Technology Co., Ltd., Shanghai Jingyao internet Technology Co., Ltd., no other organization or individual is allowed to circulate, quote or copy the content of this document.

| 文件编号Documents | IP-PJ-EHS-35 |
| --- | --- |
| 版 本Edition | V1.0 |
| 文件维护部门File maintenance department | 上海浦江数据中心 |
| 会签部门Document Signing department | 上海浦江数据中心 |
| 执行范围Scope of execution | 上海浦江数据中心 |

文件修订记录

Document revision record

| 版本号 Edition | 版本日期 Date | 修订内容 Revised Content | 修订人员 Revision personnel | 核准员 Approver | 备注 Remarks |
| --- | --- | --- | --- | --- | --- |
| V1.0 | 2025-06-25 | 初版发布 | 楚靖岳 | 陆磊 |  |

目录Content

1 目的Purpose	4

2 适用范围Scope of application	4

3 规范性引用文件Normative References	4

4 术语和定义Terms and definitions	4

5 职责Responsibilities	6

5.1各部门/岗位/业务线Each department/position/business line	6

5.2变更实施单位Change Implementation Unit	7

5.3 EHS管理负责人EHS Management Manager	7

6 程序Programs	8

6.1变更涉及的具体内容Specific Content Involved in Changes	8

6.2变更申请Change Request	9

6.3变更审批Change Approval	10

6.4变更实施Implementation of Changes	11

6.5变更验收Change acceptance	11

6.6其他要求Other requirements	12

7 附件Attachments	13

1 目的Purpose

本制度旨在建立上海暻熠数据科技有限公司、上海暻耀网络技术有限公司（以下简称“上海浦江数据中心”）EHS变更管理流程。目标包括确保遵守国家和地方法律法规、国外相关法规、客户要求以及上海浦江数据中心内部要求，确保变更管理合规，降低运营EHS风险，并促进持续改进。

This system aims to establish the EHS change management process for Shanghai Jingyi Data Technology Co., Ltd., Shanghai Jingyao internet Technology Co., Ltd.. (hereinafter referred to as "SHANGHAI Pujiang Data Center").  The objectives include ensuring compliance with national and local laws and regulations, relevant foreign regulations, customer requirements, and internal requirements of SHANGHAI PUJIANG Data Center, ensuring change management compliance, reducing operational EHS risks, and promoting continuous improvement.

2 适用范围Scope of application

适用于上海浦江数据中心，以及所有与EHS有关事项的管理职能部门。

Applicable to SHANGHAI PUJIANG Data Center and all management functional departments related to EHS matters.

3 规范性引用文件Normative References

无None

4 术语和定义Terms and definitions

4.1环境、健康和安全变更Environmental, Health, and Safety Changes

设备装置、工艺控制、现场环境、组织管理上的变更，其产生环境、健康和安全的影响。该变更可以是对现有装置或工艺的永久或暂时性变更，与成本或持续时间无关。Changes in equipment, process control, on-site environment, and organizational management have environmental, health, and safety impacts.  This change can be a permanent or temporary modification to an existing device or process, regardless of cost or duration.

4.2设备设施变更Equipment and facility changes

设备、与原部件不同的装置部件或其它货品部件的全部替换或更新，以及增加或减少任何部件均视为设备变更，安全系统设置的改变也视为设备变更。其变更对环境、健康和安全产生影响。

All replacements or updates of equipment, device components that are different from the original components, or other product components, as well as the addition or reduction of any components, are considered equipment changes, and changes in safety system settings are also considered equipment changes.  The changes have an impact on the environment, health, and safety.

4.3工艺材料变更Process material change

原有已批准的设计条件相比，工艺参数（温度、流量、压力、组成成分等）所发生的变更，对环境、健康和安全产生影响。

The changes in process parameters (temperature, flow rate, pressure, composition, etc.) compared to the approved design conditions have an impact on the environment, health, and safety.

4.4环境布局变更Environmental layout changes

与原有布局或作业环境因素相比所发生的变更，对环境、健康和安全产生影响。

Changes that occur compared to the original layout or work environment factors have an impact on the environment, health, and safety.

4.5组织管理变更Organizational management changes

所有影响环境、健康和安全绩效的组织上的变更，包括人员数量、职责、责任义务关键方面及管理制度的变更。

All organizational changes that affect environmental, health, and safety performance, including changes in personnel numbers, responsibilities, obligations, key aspects, and management systems.

4.6紧急变更Urgent Change

安全、环境、生产陷于危险，必须采取直接措施时的紧急状况下所提出的变更。

Changes proposed in emergency situations where safety, environment, and production are in danger and direct measures must be taken.

4.7临时变更Temporary change

临时变更是一段界定时间内的改变。在这段时候后，应使改变复原，或将其处理成永久变更。

Temporary changes are changes made within a defined period of time.After this period, the changes should be restored or treated as permanent changes.

4.8永久变更Permanent change

包括一般变更和重要变更，属长期的改变，但不包括同等替换。

This includes both general and significant changes, which are long-term changes, but does not include equivalent replacements.

4.9新扩改项目New expansion and renovation project

在原有的对象基础上引入全新的对象，扩大原来的对象，改变原有的对象，或者以上两种或三种情况同时存在，对原有对象减少或消除属于改变的范畴。

Introducing new objects on the basis of existing objects, expanding existing objects, changing existing objects, or having two or three of the above situations simultaneously, reducing or eliminating existing objects belongs to the category of change.

4.10同等替换Equivalent replacement

指对原对象进行相同的替换，使原有的功能更加稳定而没有使对象本身或周边相关的作业产生变化。

Refers to replacing the original object with the same one, making the original function more stable without causing any changes to the object itself or related tasks around it.

4.11变更危险性Change the risk

指变更发生过程中或之后是否引入特定的危害，如化学的，物理的或生物的物质或过程，并且会对人或环境造成危害。

Refers to whether a specific hazard, such as a chemical, physical, or biological substance or process, is introduced during or after the change and will cause harm to people or the environment.

4.12变更重要性Importance of Change

指变更相对工厂规模，人员的素质，当地的条件和作业层面所能容忍的差异而言，值得管理层所关注的变化程度。

The degree of change that management should pay attention to in terms of relative factory size, personnel quality, local conditions, and differences that can be tolerated at the operational level.

4.13变更风险等级Change risk level

指由变更危险性和重要性组合成的变更风险分析，并对风险所进行的等级划分，管理人员将根据等级的划分来决定投入的资源和关注的程度。

A change risk analysis consisting of a combination of change hazard and importance, and the classification of risks into levels. Management personnel will determine the resources and level of attention to be invested based on the classification of levels.

5 职责Responsibilities

5.1各部门/岗位/业务线Each department/position/business line

5.1.1各部门/岗位/业务线需提出变更书面申请，明确变更的初始信息，如变更范围、对象和类型等，并且提供变更相关的支持文件和资料。

Each department/position/business line shall submit a written application for change, specifying the initial information of the change, such as the scope, object, and type of change, and providing supporting documents and materials related to the change.

5.1.2判断变更的分类。

Determine the classification of changes.

5.1.3确保变更执行后，及时更新关联的信息和文档。

Ensure timely updates of associated information and documents after change execution.

5.1.4确保将已更新的相关信息及时传达给所有涉及的部门和人员。

Ensure timely dissemination of updated relevant information to all relevant departments and personnel involved.

5.1.5对变更的可行性和风险进行适当评估，并且制定相应对策和控制措施。

Conduct appropriate assessments of the feasibility and risks of changes，and develop corresponding countermeasures and control measures.

5.2变更实施单位Change Implementation Unit

5.2.1根据变更评估的相关应对和控制措施，制定实施计划。

Develop an implementation plan based on the relevant response and control measures of the change assessment.

5.2.2对变更评估的控制措施进行实施。

Implement control measures for change assessment.

5.3 EHS管理负责人EHS Management Manager

5.3.1负责组织协调变更管理流程的执行。

Responsible for organizing and coordinating the execution of the change management process.

5.3.2保存并维护上海浦江数据中心内所有变更管理的相关文件和记录。

Save and maintain all change management related files and records within the SHANGHAI PUJIANG Data Center.

5.3.3负责参与变更相关环境、健康、安全风险评估和审核。

Responsible for participating in environmental, health, and safety risk assessments and audits related to changes.

5.3.4负责维护、更新及发布变更管理程序。

Responsible for maintaining, updating, and releasing change management procedures.

5.3.5组织上海浦江数据中心变更管理程序的相关培训。

Organize relevant training on the change management procedure for SHANGHAI PUJIANG Data Center.

5.3.6对变更管理程序执行情况进行监督与审计。

Supervise and audit the implementation of change management procedures.

5.3.7跟踪并确认所有既定措施已落实到位。

Track and confirm that all established measures have been implemented.

6 程序Programs

6.1变更涉及的具体内容Specific Content Involved in Changes

6.1.1设备设施变更包括Equipment and facility changes include：

- 设备设施的更新改造

Renewal and renovation of equipment and facilities;

- 安全设施的变更

Changes in safety facilities;

- 更换与原设备不同的设备或配件

Replace equipment or accessories that are different from the original equipment;

- 设备材料代用变更

Equipment and material substitution changes;

- 临时的电气设备等

Temporary electrical equipment, etc.;

- 公用工程的水、电、气、风的变更等

Changes in water, electricity, gas, and air supply for public utilities.

6.1.2工艺材料变更包括Changes in process materials include:

- 操作规程的变更

Changes in operating procedures;

- 工艺参数的变更

Changes in process parameters.

6.1.3变更布局包括Changing the layout includes:：

- 功能区变更

Functional area changes;

- 布局变更

Layout changes;

- 设备位置、设备重新布置

Equipment location and equipment rearrangement.

6.1.4组织管理变更包括Organizational management changes include:：

- 重要环境、健康和安全法律、法规和标准的变更

Changes in important environmental, health, and safety laws, regulations, and standards;

- 环境、健康和安全绩效有关人员的变更

Changes in personnel related to environmental, health, and safety performance;

- 涉及环境、健康和安全相关管理机构的较大变更

Significant changes involving environmental, health, and safety related management agencies;

- 环境、健康和安全管理制度的重大变更

Significant changes in environmental, health, and safety management systems;

- 涉及环境、健康和安全管理职责的变更

Changes involving environmental, health, and safety management responsibilities.

6.2变更申请Change Request：

6.2.1各部门/岗位/业务线申请变更时首先应判断是否属于环境、健康和安全变更管理的控制范畴，参照附件1《上海浦江数据中心变更管理识别应用指南》进行识别，如果属于同类替换的，则无需按照变更管理程序执行。

When applying for changes, each department/position/business line should first determine whether they fall within the control scope of environmental, health, and safety change management. Refer to Attachment 1 "SHANGHAI PUJIANG Data Center Change Management Identification Application Guide" for identification. If they belong to the same type of replacement, there is no need to follow the change management procedure.

6.2.2各部门/岗位/业务线变更申请部门/人利用附件3《变更风险评估表》对变更事项进行事前风险评估，并完成附件4《变更风险评估结果表》，将《变更风险评估结果表明》提交至EHS管理负责人，EHS管理负责人根据变更类型组建评估小组对风险评估内容进行审核，确定变更等级，制作《变更审批表》见附件5，EHS管理负责人将《变更审批表》结果通知各部门/岗位/业务线变更申请部门/人，分级详情请查阅《变更审批表》，变更评估小组矩阵如下表1：

Each department/position/business line change request department/person shall conduct a pre risk assessment of the change items using Attachment 3 "Change Risk Assessment Form", and complete Attachment 4 "Change Risk Assessment Result Form". The "Change Risk Assessment Result Statement" shall be submitted to the EHS management responsible person. The EHS management responsible person shall form an evaluation team based on the change type to review the risk assessment content, determine the change level, and prepare the "Change Approval Form" as shown in Attachment 5. The EHS management responsible person shall notify each department/position/business line change request department/person of the results of the "Change Approval Form". For details of the grading, please refer to the "Change Approval Form". The matrix of the change evaluation team is shown in Table 1:

表1 变更评估矩阵表

Table 1 Change Evaluation Matrix Table

| 评估小组evaluation team 变更类型 Change type | 属地 部门 Territory department | EHS管理 负责人 EHS officer | 设备 Equipment | 人力 资源 human resources resources | 基建维修 Infrastructure maintenance | 杂货间/库房Grocery room/warehouse | 外部 专家 external expert |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 设备设施变更 Equipment and facility changes | ● | ● | ● |  | ○ |  | ○ |
| 材料变更 Material change | ● | ● | ○ |  |  | ○ | ○ |
| 环境布局变更 Environmental layout changes | ● | ● | ○ |  | ○ |  | ○ |
| 组织管理变更 Organizational management changes | ● | ● |  | ● |  |  |  |

6.2.3各部门/岗位/业务线变更申请人根据EHS管理负责人下发的《变更审批表》分级情况制作并提交《变更申请表》见附件2。各部门/岗位/业务线变更申请人通过《变更风险评估结果表》，将变更影响及需要采取的控制措施或等效附件提供变更和计划行动的详情，记录于《变更申请表》。

Each department/position/business line change applicant shall prepare and submit a Change Request Form based on the grading of the Change Approval Form issued by the EHS management responsible person, as shown in Attachment 2. Each department/position/business line change applicant shall provide details of the change impact and the required control measures or equivalent attachments through the 'Change Risk Assessment Results Form', and record them in the 'Change Request Form'.

6.3变更审批Change Approval

6.3.1填写《变更申请表》后，逐级上报领导审批。

After filling out the 'Change Request Form', report it to the leadership for approval step by step.

6.3.2审查过程中，EHS管理负责人发现安全、环保控制措施不达安全要求的，变更发起部门/人需要重新制定新的控制措施，再进行审查。

During the review process, if the EHS management manager discovers that the safety and environmental control measures do not meet the safety requirements, the department/person initiating the change needs to develop new control measures before conducting the review.

6.3.3审查通过后，将《变更申请表》报相关领导进行审批。

After the review is approved, the 'Change Request Form' shall be submitted to the relevant leaders for approval.

6.4变更实施Implementation of changes:

6.4.1变更批准后，由变更实施单位负责实施变更。变更应严格按照变更审批确定的内容和范围实施，并对变更过程实施跟踪。

After the change is approved, the implementing unit shall be responsible for implementing the change.  Changes should be strictly implemented in accordance with the content and scope determined by the change approval, and the change process should be tracked.

6.4.2任何临时性的变更都不得超过原批准范围和期限，一旦超过都必须重新进行申请、风险评估、审查和审批等流程。

Any temporary changes shall not exceed the original approved scope and deadline. Once exceeded, a new application, risk assessment, review, and approval process must be carried out.

6.4.3未经审查和批准的变更不得实施。

Changes that have not been reviewed and approved shall not be implemented.

6.4.4变更申请部门/人和EHS管理负责人要对变更过程进行跟踪和监督管理。

The department/person in charge of the change request and the EHS management manager shall track and supervise the change process.

6.4.5变更实施单位和变更申请部门要对变更过程产生的风险进行评估并采取控制措施，避免事故发生，确保变更过程的安全、环保。

The implementing unit and the department applying for the change shall assess the risks arising from the change process and take control measures to avoid accidents and ensure the safety and environmental protection of the change process.

6.5变更验收Change acceptance：

6.5.1变更实施结束后，变更实施单位要通知变更申请部门、变更涉及部门以及EHS管理负责人对变更情况进行验收。应确保：

After the implementation of the change is completed, the implementing unit shall notify the change application department, the departments involved in the change, and the EHS management responsible person to conduct acceptance of the change situation.  It should be ensured that:

- 变更已经按照描述安装;

The change has been installed as described;

- 没有其他的额外变更;

There are no other additional changes;

- 标准操作规程已被更新/归档/沟通传达;

The standard operating procedures have been updated, archived, and communicated;

- 已完成对运行和维护人员的相关培训;

Relevant training for operation and maintenance personnel has been completed;

- 已将在风险评估中识别出的所有安全控制措施落实到位。

All security control measures identified in the risk assessment have been implemented.

6.6其他要求Other requirements:

6.6.1变更申请、实施单位将变更及变更过程中形成的风险辨识与评估报告、批准文件、图纸、验收报告等相关资料收集在一起后上交到EHS管理负责人进行存档处理。

The change application and implementation unit shall collect the risk identification and assessment report, approval documents, drawings, acceptance reports, and other relevant materials generated during the change process and submit them to the EHS management responsible person for archiving.

6.6.2各部门/岗位/业务线参照变更流程对本部门相关的人员的变更、管理机构的变更、管理职责的变更等内容进行变更管理。

Each department/position/business line shall follow the change process to manage changes in personnel, management structure, and management responsibilities related to their department.

6.6.3通过《变更审批表》评估结果为1级的只需经本部门主管领导审批和验收，超过2及以上的必须要经过多部门领导人员审批和验收。

If the evaluation result of the Change Approval Form is Level 1, it only needs to be approved and accepted by the department head. If it exceeds 2 or more, it must be approved and accepted by multiple department leaders.

6.6.4《变更申请表》：由变更部门填写并交由相关责任部门审批，审批完成后，《变更审批表》交由EHS管理负责人保管。

Change Request Form: The change department shall fill out and submit it to the relevant responsible department for approval. After approval, the Change Approval Form shall be kept by the EHS management responsible person.

6.6.5《变更验收表》附件6：变更验收完成后由相关责任部门编写，并交由EHS管理负责人保管。

"Change Acceptance Form" Attachment 6: After the change acceptance is completed, the relevant responsible department shall prepare it and hand it over to the EHS management responsible person for safekeeping.

7 附件Attachments

- IF-PJ-EHS-3501:上海浦江数据中心变更管理识别评估应用指南SHANGHAI PUJIANG Data Center Change Management Identification and Evaluation Application Guide

- IF-PJ-EHS-3502:变更申请表Change Request Form

- IF-PJ-EHS-3503:变更风险评估表Change Risk Assessment Form

- IF-PJ-EHS-3504:变更风险评估结果表Change Risk Assessment Results Table

- IF-PJ-EHS-3505:变更风险审批表Change Risk Approval Form

- IF-PJ-EHS-3506:变更验收表Change Acceptance Form